## Slide 1
Sangfor HCI
Advanced Sizing and Quotation
www.sangfor.com
Sangfor Technologies Inc.

## Slide 2
HCI Software License Breakdown
The licenses that are based on physical CPU sockets
aSV, aSAN, aNET, aCMP, aSC
The licenses that are based on instance models
aSEC: vNGAF, vIAM, vAD, vSSL VPN, vWANO
The licenses that are based on VMs
aHM, DR, CDP
Notes:
DR license has 2 parts: aDR and DR VM, aDR is the DR engine which includes DR for 5 VMs, DR VM license is licensed per additional VM, aDR is the prerequisite for DR VM license. This licensing model applies to CDP as well (CDP engine and CDP VM).

## Slide 3
HCI sizing is all about server hardware

## Slide 4: What’s Inside A Server ?

## Slide 5: CPU Sizing based on frequency
How to calculate the total CPU frequency of a server:
Server total CPU frequency = CPU sockets * base frequency * cores * 1.2, 1.2 is the turboboost coefficient
Example:
The total CPU frequency of aServer 2200 = 2*2.2*12*1.2 GHZ = 63.36 GHZ
However, server CPU usage cannot reach 100%, usually 70% is the usage peak limit to guarantee performance on HCI. In this case, the usable frequency on aServer 2200 will be 63.36*0.7= 44.35 GHZ
Get customer’s existing server CPU types and peak usage info, calculate the total CPU frequency.
Let’s say customer has 3 servers with 6 CPUs of E5-2620 (6C, 2GHZ ), the peak usages for server A, B and C are 30%, 40% and 50%, frequency of a single E5-2620 = 6*2*1.2=14.4GHZ, then the total used CPU frequency = 2*14.4*0.3 + 2*14.4*0.4 + 2*14.4*0.5 = 34.56 GHZ;
In this case, the computing power of one aServer 2200 can meet
the requirement, you may consider using 2*aServer 2000.
Attention: HCI OS consumes 3 physical cores (aSV, aSAN and aNET
consume 1 physical core each) of CPU resource on each node,
remember to take this into consideration when you do CPU sizing.
e.g. E5-2650 v4

## Slide 6: CPU Sizing based on vCPU
Remember 1 rule, 1 physical thread (p-thread) can be virtualized to maximum 3 vCPUs.
e.g.
VM | vCPU/vCore | Quantity
VM1 | 4 | 6
VM2 | 2 | 3
VM3 | 8 | 2
VM4 | 4 | 2
In this case, there are totally 4*6+2*3+8*2+4*2= 54 vCPUs, for customers with budget, let’s use the ratio 1 p-thread : 1 vCPU = 1:1, then 54 threads are needed, and because 1 p-core = 2 p-threads, 27 p-cores are needed, for a 2-socket server, a CPU must have > 14 cores to meet the requirement.
For customers with a tight budget, use 1 p-thread = 3 vCPU so that the consolidation rate is higher however the performance will be poorer compared to 1:1.

## Slide 7: RAM Sizing based on physical RAM
Same like CPU sizing, collect the RAM information of existing physical servers including RAM capacity and peak usage, then calculate the used RAM capacity.
Let’s assume HCI software takes up 27GB (this is for example only) of physical RAM on each server. (The calculation of HCI OS RAM consumption is detailed in the coming slides)
The RAM usage peak limit is set on 80%, exceeding this percentage will incur performance slowdown.
e.g.
Server | RAM (GB) | Peak usage
Server 1 | 64 | 60%
Server 2 | 96 | 70%
Server 3 | 128 | 50%
Server 4 | 96 | 60%
Total used RAM = 64*60% + 96*70% + 128*50% + 96*60% = 227.2 GB≈ 228GB, the number of nodes is confirmed by CPU sizing, let’s say maybe 3 nodes are needed, then 3*27GB=81GB are needed for the HCI OS, totally 222+81=303GB are needed, each node will have 303/3/0.8=126.25GB, for 2-socket servers, RAM capacity should be 32*N, so 128GB is the right RAM capacity for each server.

## Slide 8: RAM Sizing based on virtual RAM
Add them up, plus the assumption of 27GB (this is for example only) for each node. (The calculation of HCI OS RAM consumption is detailed in the coming slides)
VM | RAM (GB) | Quantity
VM1 | 64 | 2
VM2 | 96 | 1
VM3 | 48 | 2
VM4 | 32 | 3
Total virtual RAM = 64*2+96*1+48*2+32*3 = 416GB, if it’s a 3-node cluster (confirmed by CPU sizing), total physical RAM will be 416+3*27=497GB, each node needs to have 497/3=165.6≈ 166GB, therefore 192GB (32*6) is the right RAM size for each node.
Attention: the maximum VM memory supported on HCI is 256GB (the restriction can only be lifted from the backend).
e.g.

## Slide 9: HCI OS RAM Consumption (per host)
Management + aSV
RAM consumption: 7GB = 3GB (basic service) + 4GB (advanced service)
Service | RAM consumption
Basic service | Actual RAM consumption is 2.1GB, 3GB is reserved
Web page HTTP (Apache) | 400MB
Platform management service (vtpdaemon) | 300MB
Memory management service | 250MB
Cluster service (corosync) | 150MB
Others (kernel, cluster file system, sshd, service monitoring) | 1GB
Advanced service | Actual RAM consumption is 3.5GB, 4GB is reserved
Perl cyclical service | 500MB
Terminal configuration service | 300MB
VM service (IP change notification, start-up scheduling) | 450MB
Backup service (instant recovery data merge service 300MB, VMware backup 150MB, backup file browsing 100MB, CDP service 150MB, DR agent management 100MB) | 800MB
Log service | 250MB
Host management service | 300MB
Alarm service | 120MB
Request scheduling | 100MB
Reporting service | 100MB
Others | 500MB

## Slide 10: HCI OS RAM Consumption (per host)
aNET
RAM consumption: 7GB
Service | RAM consumption
Data packet cache (mbuf_pool) | 2GB
Virtual router (2 vRouters are reserved on each host) | 0.34GB
Virtual switch (10 vSwitches are reserved on each host) | 1.8GB
Control plane | 0.2GB
Data plane basic reservation | 0.7GB
Session reservation (4 million sessions on each host) | 1GB
Buffer | 1GB

## Slide 11: HCI OS RAM Consumption (per host)
aSAN
RAM consumption: depends on the disk configuration
Service | RAM consumption
Basic service | 7GB
Data tier-ing service | For every 100GB of SSD capacity, 0.5GB RAM is consumed
Data service | 1GB RAM for 1 hard drive (HDD)
Example
A host in the cluster has 2 SSDs of 960GB and 6 HDDs of 2TB, aSAN module will consume RAM of:
7GB (basic service) + 2*9.6*0.5GB + 6*1GB = 7+ 9.6 +6 GB = 22.6GB

## Slide 12: Cloud (SCP) OS Consumption
OpenStack API, physical host management and AWS management are disabled by default
SCP specs | Tenants | Users | Concurrent users | Clusters | Hosts | VMs
8vCPU 16GB | 32 | 200 | 64 | 4 | 32 | 0-3000
16vCPU 16GB | 64 | 500 | 128 | 8 | 64 | 3000-5000
16vCPU 32GB | 128 | 1000 | 256 | 16 | 128 | 5000-10000
24vCPU 32GB | 128 | 1000 | 256 | 25 | 256 | 10000-30000
When OpenStack API, physical host management and AWS management are enabled:
SCP specs | Tenants | Users | Concurrent users | Clusters | Hosts | VMs
14vCPU 22GB | 32 | 200 | 64 | 4 | 32 | 0-3000
22vCPU 22GB | 64 | 500 | 128 | 8 | 64 | 3000-5000
22vCPU 38GB | 128 | 1000 | 256 | 16 | 128 | 5000-10000
30vCPU 38GB | 128 | 1000 | 256 | 25 | 256 | 10000-30000

## Slide 13: HA (High Availability) Sizing
When HA is required, add one more node for redundancy, and this node must have the specs equivalent to the node with the highest specs in the cluster.
e.g. let’s say 3 nodes of aServer 2200 each with 128GB RAM is needed too meet customer’s resource requirement according to the CPU and RAM sizing method, HA is required, then add one more aServer 2200 with 128GB as the redundancy to accommodate HA scenario.
Another example is 2 aServer 2200 with 256GB RAM + 2 aServer 2000 128GB RAM is in the cluster, when HA is required, add one more aServer 2200 with 256GB for HA redundancy.

## Slide 14: Disk Sizing based on physical disks
The lazy way: add all the physical disks up, and since 2-copy is the mainstream replication factor for aSAN, and there’s a buffer coefficient 0.85 to calculate usable capacity on aSAN. The formula is usable capacity = (raw capacity /2)*0.85, raw capacity = 2*usable capacity /0.85, the raw capacity here means the total HDD capacity.
To ensure storage performance, on each node, total SSD capacity should be at least 5% of the total HDD capacity.
Physical server | Storage (TB)
Server 1 | 4
Server 2 | 6
Server 3 | 8
Server 4 | 10
Total storage capacity is 4+6+8+10=28TB, that’s the usable capacity. Use the formula, raw capacity = 2*28/0.85= 65.8TB≈ 66TB, let’s say there are 3 nodes, then each node needs to have at least 22TB HDD capacity and 5%*22= 1.1TB SSD capacity.
e.g.

## Slide 15: Disk Sizing based on physical disks
The more accurate way to do disk sizing is to factor in RAID.
Use this tool to calculate usable capacity on each existing servers, and then do the sizing according to the prior method.
https://www.servethehome.com/raid-calculator/

## Slide 16: Disk Sizing based on virtual disks
Add them up, you will get usable capacity, and then use raw capacity = 2*usable capacity /0.85 to calculate raw capacity.
Update: VM-based storage policy is supported since 6.0.1, that means data copies can be configured on a per VM basis. Therefore, HCI capacity sizing needs to be done based on VMs.
Example:
VM | Assigned capacity | Replica | Needed raw capacity
VM1 | 100GB | 2 | =2*100/0.85=236GB
VM2 | 200GB | 2 | =2*200/0.85=471GB
VM3 | 300GB | 3 | =3*300/0.85=1059GB
Total | 600GB | N/A | =236+471+1059=1766GB

## Slide 17: NIC Sizing
All of the 2U HCI aServer appliances have at least 6*GE NIC ports.
For storage, it’s recommended to configure 10GE for connection.
Switch for aSAN must be dedicated, it should be separated from other switches.
5.8.5 supports switch multiplexing for management, VxLAN and business, that means you can use one switch (with VLAN enabled for traffic separation) for these connections, but after it’s configured, do not change the IPs of VxLAN and management.
A NIC or PCI-e SSD will occupy a PCI-e slot on the server and each model of aServer has limited PCI-e slots (e.g. aServer 2000 has 3). When you need to expand NIC ports or PCI-e SSD on aServer, check the number of the available PCI-e slots first (on hardware specs tab in the price book )

## Slide 18
CDP & DR

## Slide 19: CDP Sizing
The average number of VMs protected by CDP should not exceed 3 on each server node, and each server should have more than 128GB memory.
CDP target storage can be set on iSCSI/FC SAN or another aSAN.
How to calculate CDP backup storage capacity
Backup capacity = Number of VMs * [Average size of vDisk per VM * (Full backup retention period/ Full backup interval + 1)) + Incremental data size per VM * (Incremental backup retention period/ Incremental backup interval + 1)] * Redundancy factor (1.2 is recommended)
How to calculate IO log capacity
IO log capacity = Average IO rate per VM * 3 * 24 * 3600 * Redundancy factor (1.2 is recommended)
CDP capacity = backup capacity + IO log capacity
Repository setting
It’s recommended to store CDP IO Log and backup data separately, put backup data on external storage and IO logs on aSAN or another external storage

## Slide 20: DR Sizing
Prioritize business applications and confirm RPO/RTO requirements.
Core business: RPO = seconds, RTO = minutes
Major business: RPO = minutes, RTO = minutes
Common business: RPO = hours, RTO = hours
Survey peak-hour data increments and calculate peak-hour data IO rate (MB/s), figure out bandwidth requirement based on RPO requirements and peak-hour IO rate
Take backup retention period into consideration to calculate backup repository storage capacity.
If RPO is required at seconds or minutes level, CDP will be enabled. Refer to the CDP sizing methodology for CDP IO logs and backup storage capacity calculation.

## Slide 21: HCI to HCI DR Bandwidth Calculation
RPO is highly relevant to data change rate and bandwidth, the amount of average data change must be fully replicated at a given bandwidth within the required RPO time.
HCI to HCI DR bandwidth calculation formula
Note: data must be backed up first before being replicated, that’s why the backup time needs to be deducted.
RPO | Data change | Data change size | Needed bandwidth
1s | IO throughput | 5MB/s | 40 （Mbps)
 |  | 10MB/s | 80 （Mbps)
 |  | 30MB/s | 240 （Mbps)
2 hrs | Hourly data change | 1GB | 3 （Mbps)
 |  | 5GB | 15 （Mbps)
 |  | 10GB | 25 （Mbps)
 |  | 20GB | 50 （Mbps)
 |  | 50GB | 160 （Mbps)
12 hrs | Data change in every 6 hours | 50GB | 20 （Mbps)
 |  | 100GB | 45 （Mbps)
 |  | 150GB | 70 （Mbps)
 |  | 200GB | 100 （Mbps)
 |  | 300GB | 160 （Mbps)
24 hrs | Data change in every 12 hours | 50GB | 10 （Mbps)
 |  | 100GB | 20 （Mbps)
 |  | 150GB | 30 （Mbps)
 |  | 200GB | 45 （Mbps)
 |  | 300GB | 70 （Mbps)
Item | RPO | Data sync interval | Data change size | Local backup speed | Needed bandwidth
Example | 1 day | 12 hrs | Data change size in 12 hrs: 100GB | 50MB/s (default) | 100GB * 1024 * 8 /（12 * 3600 - 100 GB * 1024 / 50） ≈ 20Mbps
Formula | R s | R/2 s | Data change size in R/2 s: N GB | T MB/s | N * 1024 * 8 / （R/2 - N * 1024 /T）

## Slide 22: Witness Node Sizing Guide for Stretched Cluster
Configuration requirements for witness node | Small-scale deployment (4-6 HCI nodes, 2-3 nodes at each site) | Support virtual deployment on VMware and physical deployment CPU: 6 threads RAM: 8GB Witness disk: capacity > 100GB, performance >=1000 IOPS
 | Medium-size deployment (8-16 HCI nodes, 4-8 nodes at each site) | Physical deployment is highly recommended CPU: 8 threads RAM: 16GB Witness disk: configure RAID1 with 2 pieces of 128GB or 256GB enterprise-grade SSDs
 | Large-scale deployment (18-24 HCI nodes, 9-12 nodes at each site) | Physical deployment is highly recommended CPU: 10 threads RAM: 24GB Witness disk: configure RAID1 with 2 pieces of 128GB or 256GB enterprise-grade SSDs

## Slide 23
GPU Sizing

## Slide 24: GPU Sizing Guide
Transformation Scenario
1. Depends on whether or not customer is going to reuse existing GPU servers:
If GPU servers are reused, it’ll be OK as long as the GPU can be supported (most NVIDIA GPU cards can support pass-through mode).
2. Depends on what application customer is running on what GPU:
Most GPU cards are recommended by business system vendors, just use the same GPU card model when virtualized.

## Slide 25: GPU Sizing Guide
New Construction Scenario
1. Based on business systems: see if the app vendor has any model recommendation for GPU cards
2. Up to customer’s will: what requirements they have for GPU
3. Customer has applications that require GPU, now they are going to replace existing physical platform with virtualization and use new GPU card for vGPU:
If the business is deep learning type, P40 is recommended, M60 and M10 are recommended for graphics rendering scenario

## Slide 26
Software License Part

## Slide 27: Software Licenses
Foundational software: aSV, aNET & aSAN
aSV, aNET, aSAN are all licensed on a physical CPU basis. aSV is mandatory, aSAN and aNET are optional.
HA requires aSAN if no external storage is provided
aNET is needed when NFV is required
Say 3 nodes with 6 CPUs, then 6*aSV, 6*aSAN and 6*aNET
Value-added: aSEC
aSEC is licensed per instance. Each license is bundled with specific NFV model, say customer needs 2*vAF200, then 2 licenses of vAF200 are needed.

## Slide 28: Software Licenses
Value-added licenses
3 new licenses since 5.8.3
aHM (VMware heterogeneous and backup license): per VMware VM, the aSV equivalent number of VMs are licensed for free, say customer purchased 4 aSV licenses, then they can get 4 aHM licenses for free.
CDP (base software license): one per cluster (one license is enough for multiple clusters after aCMP is released), mandatory for CDP function, it includes a quota of 5 VMs to be protected by CDP.
CDP VM License: per VM to be protected by CDP, CDP base software is a prerequisite for this license.
3 new licenses since 5.8.6
aCMP license, DR Module license and DR VM license.
Only multi-tenancy on aCMP requires license, it is licensed per physical CPU socket.
aDR module is a one-time license, it is mandatory for enabling DR, this module includes DR quota for 5 VMs, CDP is also included in DR module.
DR VM license is based on VMs, the number of licenses depends on how many more VMs need to be enabled with DR other than 5 VMs covered by DR module license.

## Slide 29: Three More Licenses Since 6.1.0
aHCM-AWS (hybrid cloud management)
Enable the license when AWS management is required, this is a once-off license, no limitation on the quantity of AWS virtual instances to be managed.
aHCM-Physical
Enable the license when physical machine management is required, this is a once-off license, no limitation on the quantity of physical servers to be managed.
aAPI
Enable the license when Cyber Command security correlation is needed, again, this is a once-off license.
These 3 licenses are not charged in IMD until further notice.

## Slide 30: Licensing for Stretched Cluster (from HCI 5.8.7R1)
How to License
Additional license called aSC, aSV and aSAN are prerequisite
Licensed by the number of physical CPU sockets
Scenario 1
New construction, 1 stretched cluster with 20 physical CPU sockets, 1 traditional cluster with 40 CPU sockets, totally 60 sockets
Cluster Type | Licenses for aSV &aSAN | Licenses for aSC
Stretched cluster | 20 | 20
Traditional cluster | 40 | 0
Total | 60 | 20
Scenario 2
Construction in phases, primary DC at the 1st phase with 20 CPUs, add another 20 CPUs at the 2nd phase in secondary site to build a stretched cluster
Cluster Type | Licenses for aSV &aSAN | Licenses for aSC
Phase 1 | 20 | 0
Phase 2 | 20 | 40
Total | 40 | 40

## Slide 31: Licensing for vGPU (from HCI 5.8.7R1)
1. vGPU support requires license from NVIDIA, it’s licensed by the number of concurrent vGPU VMs
2. GPU pass-through requires no license from NVIDIA
3. No license from Sangfor for both modes
Licensing procedure
1. Upload licensing server template to HCI
2. Configure IP and import license file
3. Input licensing server’s IP on the GPU driver of vGPU VM
There are 3 types of vGPU licenses from NVIDIA: vPC, vDWS and EDU. vDWS has better performance than vPC, EDU is a promotion for education sector, it shares the same functionalities with vDWS, but has a lower price as vPC, only schools have the right to purchase it

## Slide 32: Licensing for PaaS (KubeManager) (from HCI 6.2.0)
The license of KubeManager is quoted based on the number of VMs that form the
Kubernetes cluster (excluding KubeManager VMs).
Example 1
Customer needs to deploy 3 nodes for Kubernetes control plane and etcd together with worker nodes, 2 dedicated worker nodes, then 5 KubeManager licenses are needed.
Example 2
Customer needs to deploy 3 dedicated nodes for Kubernetes control plane and etcd, 7 dedicated worker nodes, then 10 KubeManager licenses are needed.
Note:
KubeManager VMs (standalone or HA mode) are not counted as K8s nodes when being licensed.

## Slide 33
Service Part

## Slide 34: Hardware Service
4 types of hardware services: RTF, SDS, NBD, 7*24
RTF: return to factory, free of charge for 3 years, 3% of hardware list price for yearly service extension
SDS: same day shipment, 5% of hardware list price
NBD: next business day, 7% of hardware list price
7*24: 7 days * 24 hours, 15% of hardware list price, not recommended at this stage due to limited capacity.

## Slide 35: Software Service
Software service includes software technical support and software upgrade license, the price of software service is charged as 10% of software list price.
Software service is mandatory, there will be no technical service and software upgrade without it.

## Slide 36
THANK YOU

## Slide 37: Implementation & Migration Service
Implementation service
Based on how many nodes customer purchased, the same number of implementation service should be purchased
Migration Service
Need to analyze how many VMs are required to migrate with assistance from Sangfor, implementation service includes migration quota of 2 VMs per node, if that’s not enough, need to calculate overall migration workload based on the method provided in the table on the previous slide and then purchase on a number of person/days
Caution
Implementation or migration service does not sell alone, they have to be bundled with software technical service (which is kind of mandatory)