## Slide 1
www.sangfor.com
Sangfor Technologies Inc.
Sangfor Business Continuity Solution
Technical Introduction
Cheney Hu
HCI Senior Product Manager
cheney@sangfor.com

## Slide 2: Sangfor Business Continuity Solution Panorama
City A
Site 1
Site 2
SC
DR
Site 3
City B
Disaster recovery
Disaster avoidance
Planned migration
Planned downtime
Inter-site load balancing
Active-passive disaster recovery solution
Active-active stretched cluster solution
Local HA
High availability
x86
x86
x86
aSV/aSAN/aNET/aSEC
aDR
aSC
SCP
x86
x86
x86

## Slide 3
Business Objective | Target RPO | Target RTO | Sangfor Solution & Capabilities | Bandwidth | Distance
Local high availability | 0 | Seconds | Local HA, RPO = 0, RTO = seconds | 1Gbps mgmt. | N/A
Disaster recovery, Disaster avoidance, planned migration | Minutes to hours | Minutes to hours | Active-passive disaster recovery, RPO = min. 1s, RTO = mins | Based on RPO and IO speed | No limitation
Planned downtime , disaster avoidance, site-level load balancing | 0 | Seconds | Active-active stretched cluster, RPO = 0, RPO = seconds | 10Gbps fiber, RTT<=5ms | <=50km
Choose The Business Continuity Solution
That Suits Your Need

## Slide 4: Recovery from Different Failure Scenarios
Failure 1: VM crash/virus
Recovery: from backup/CDP
Failure 2: Node failure
Recovery: from HA
Failure 3: Site failure
Recovery: from DR failover
No distance limit,
RPO＞1hr, bandwidth≥30 Mbps, latency<50ms
RPO≤1hr, bandwidth≥100 Mbps, latency＜30ms
Secondary site HCI
Data transfer
Incremental failback
DC gateway
DC gateway
Primary site HCI
VM A
VM B
VM C
SCP
External storage
Backup/CDP
Instant recovery
Virtual storage
Virtual storage
Instant recovery
VM B
(placeholder VM)
Backup
storage pool
VM B
Production
storage pool

## Slide 5: Sangfor Active-passive Disaster Recovery in A Nutshell
Integrated and easy to use
Local backup + remote replication
Flexible RPOs, min. 1s
VM
VM
VM
VM
HCI
VM
Main SCP
Virtual network
Site A
Backup
CDP
Backup storage pool
VM
VM
VM
VM
HCI
VM
Standby SCP
Virtual network
Site B
Instant recovery
Sync data to
DR site
Failback to production site
Production storage
pool
Backup storage pool
Production storage
pool

## Slide 6: Drilling into Details
VM
VM
VM
VM
HCI
VM
Main SCP
Virtual network
DC A
Backup
CDP
Backup storage pool
VM
VM
VM
VM
HCI
VM
Standby SCP
Virtual network
DC B
Instant recovery
Sync data to DR site
Failback to production site
Production storage
pool
Backup storage pool
Production storage
pool
3. DR monitoring center
Provide DR monitoring, displaying DR status of all sites and protected VM groups with detailed alarms for fast troubleshooting
1. Local backup/CDP
Support scheduled backup for VMs, backup interval can be set on hourly, daily and weekly basis
Support CDP for VMs to record every IO and roll back to any point of time in seconds granularity
4. Retrieve files
Able to directly retrieve files from local backup data (Windows) without recovering an entire VM
5. VM recovery
Able to recover an entire VM directly from local backup data
2. Data replication
Sync the VM data to target HCI cluster according to configured RPO
7. Failback to production site
Failback VMs back to production site with only delta data transmitted
6. Failover to DR site
Failover VMs to DR site for fast business recovery in the event of disaster or planned maintenance

## Slide 7: Highlights of Sangfor A-P DR
Solution highlights:
Integrated in the platform, no need for additional software, 1 click to enable VM-level DR solution
Adopted “local backup – offsite DR” DR solution, instant recovery from local CDP with seconds-level continuous protection. A variety of RPOs (1s, 10s, 10mins, 30mins, 1h, 2h, 4h, 8h, 12h, 1d, 2d, weekly) for offsite DR based on HCI
Save bandwidth consumption by features like continuous data transfer from breakpoint and compressed replication
Provide 1-click failover to DR site, network can be preconfigured to minimize RTO to mins
Provide incremental failback to production site from DR site
Provide main SCP and standby SCP to eliminate single point of failure
Provide visualized DR monitoring with detailed running status and alarms
DR testing is included to validate DR effectiveness without business disruption
Easy to use, no learning curve

## Slide 8: HCI to HCI DR Bandwidth Calculation
RPO is highly relevant to data change rate and bandwidth, the amount of average data change must be fully replicated at a given bandwidth within the required RPO time.
HCI to HCI DR bandwidth calculation formula
Note: data must be backed up first before being replicated, that’s why the backup time needs to be deducted.
RPO | Data change | Data change size | Needed bandwidth
1s | IO throughput | 5MB/s | 40 （Mbps )
 |  | 10MB/s | 80 （Mbps )
 |  | 30MB/s | 240 （Mbps )
2 hrs | Hourly data change | 1GB | 3 （Mbps )
 |  | 5GB | 15 （Mbps )
 |  | 10GB | 25 （Mbps )
 |  | 20GB | 50 （Mbps )
 |  | 50GB | 160 （Mbps )
12 hrs | Data change in every 6 hours | 50GB | 20 （Mbps )
 |  | 100GB | 45 （Mbps )
 |  | 150GB | 70 （Mbps )
 |  | 200GB | 100 （Mbps )
 |  | 300GB | 160 （Mbps )
24 hrs | Data change in every 12 hours | 50GB | 10 （Mbps )
 |  | 100GB | 20 （Mbps )
 |  | 150GB | 30 （Mbps )
 |  | 200GB | 45 （Mbps )
 |  | 300GB | 70 （Mbps )
Item | RPO | Data sync interval | Data change size | Local backup speed | Needed bandwidth
Example | 1 day | 12 hrs | Data change size in 12 hrs:100GB | 50MB/s (default) | 100GB * 1024 * 8 /（12 * 3600 - 100 GB * 1024 / 50） ≈ 20Mbps
Formula | R s | R/2 s | Data change size in R/2 s: N GB | T MB/s | N * 1024 * 8 / （R/2 - N * 1024 /T）

## Slide 9: HCI to HCI DR Storage Capacity Calculation
Production
Backup
aSAN
Backup
Production
aSAN
Primary site
Secondary site
Total usable capacity >= (production capacity + backup capacity) * 2
e.g. a VM is 100GB in size, RPO requirement is 1 hour, the data that’s changed in ½ hour is 0.1GB, the backup data needs to be stored for 7 days, then:
The total usable capacity for this VM at each site should be at least
100GB (production capacity) + (100GB+0.1*2*24*7)(backup capacity)=233.6GB

## Slide 10: Sangfor Active-active Stretched Cluster in A Nutshell
HCI
HCI
HCI
App1
App2
App3
Site A
HCI
HCI
HCI
App4
App5
App6
Site B
Witness
Site C
Automatic failover
Minimal downtime
0 data loss
Easy to deploy and manage
10Gbps fiber
RTT<=5ms
Active-active storage

## Slide 11: Drilling into Details
DC A
DC B
VM
VM
VM
VM
HCI
VM
VM
VM
VM
VM
VM
SCP
Virtual network
Storage pool
HA/live migration
4. Stretched network
Network orchestration can be done on the unified WYDIWYG page
5. HA
When a host in one fault domain fails, the VMs on that host will be rebooted on another host in the other fault domain to restore compute. The access traffic will be redirected to other active VMs to ensure business continuity
6. DRS
When a host in one fault domain is overloaded, VMs on this host will be live migrated to another host in the other fault domain to make sure host resources utilisation across fault domains are load balanced
7. Active-active
VMs for active-active applications are distributed across 2 fault domains, when either fault domain fails, VMs on the other fault domain will take over the business and ensure continuity
1. Stretched HCI
A logical HCI cluster
across 2 sites for unified
compute, storage and
network resources
2. Fault domain
A HCI cluster in each site is considered as a fault domain, VMs are running in an active-active manner on 2 fault domains, obeying mutex rule, there’s no single point of failure
3. Stretched storage
Provide unified storage access route for upper applications based on stretched storage, one data has 2 copies at 2 sites. When application writes IO, it will be copied into 2 replicas and writes to both sites, only acknowledgements received by both sites will be counted as write succeeds to ensure data consistency

## Slide 12: Why Witness Matters in A-A Stretched Cluster
The purpose of witness is to enable the cluster to achieve quorum when one of the two main data sites is offline. The witness also acts as “tie-breaker” in scenarios where a network partition occurs between the two data sites. This is sometimes referred to as a “split-brain” scenario. The witness does not store virtual machine data such as virtual disks. Only metadata such as witness components is stored on the witness.
HCI
HCI
HCI
App1
App2
App2
Site A
HCI
HCI
HCI
App2
App1
App6
Site B
Witness
Site C
10Gbps fiber
RTT<=5ms
123
123
abc
abc
ef
gh
45
67
45
gh
67

## Slide 13: Values of Sangfor Stretched Cluster Solution
Ultimate business continuity with 0 RPO and near-zero RTO
Start from 4 nodes, greatly lowering the entry threshold
Flexible workload allocation to maximize resource utilization with the co-existence of stretched virtual volume and traditional virtual volume
Unified and visualized management
Capable to work with DR to facilitate an A-A + A-P business continuity scheme

## Slide 14: Veeam & Sangfor Joint DR Solution
Primary site
VMware/Hyper-v/…
DR site
Sangfor HCI

## Slide 15: Veeam Adds The Last Piece to The Puzzle
Application-aware backup and DR for
Oracle
SQL Server
SAP HANA
PoastgreSQL
…
Note: Veeam agent is required

## Slide 16: DR Responsibility Matrix
Sangfor HCI provides only platform-level data sync and failover, for the external network design, we offer suggestions and consultation, final design is up to customer’s existing environment and willingness.
CONFIDENTIAL
Page 15
DC gateway
Core switch
Core switch
AD
NGAF
IAM
SSL VPN
AD
AD
SSL VPN
Core switch zone
Business zone
Business switches
Management switches
VXLAN switches
Storage switches
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
DC gateway
Core switch
Core switch
AD
NGAF
IAM
SSL VPN
AD
AD
SSL VPN
Core switch zone
Business zone
Business switches
Management switches
VXLAN switches
Storage switches
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
Leased line
/fiber
Compute, storage and virtualization
Infrastructure
Access/Core Network,
Network provider
Security
Security
DNS, Internet service, load balancer
ISP/LB provider
e.g. F5, A10,…
Sangfor
e.g. Cisco, Juniper,…
Sangfor

## Slide 17: DR: Network Architecture
DC gateway
Core switch
Core switch
AD
NGAF
IAM
SSL VPN
AD
AD
SSL VPN
Core switch zone
Business zone
Business
switches
Management
switches
VXLAN switches
Storage switches
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
External storage zone
DC gateway
AD
NGAF
IAM
SSL VPN
AD
AD
SSL VPN
Core switch zone
Business zone
Business
switches
Management
switches
VXLAN switches
Storage switches
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
VM
DC A
DC B
OA
VPN
Finance
system VPN
Order
system VPN
Email
system VPN
... ...
Leased line
/fiber
Storage
Storage
Core switch
Core switch

## Slide 18: Stretched Cluster Network Architecture
Router
Router
AD-1000
Storage switches
Management switches
Business
switches
SANGFOR HCI cluster
External storage
Core
switches
Stacking
GE
10GE
10GE
Stacking
AD-1000
AD-1000
Site A
Business switches
Dark fiber
DWDM
Stretched volume
Stretched volume
Witness
AD-1000
Internet
DWDM
DWDM
DWDM
Router
Router
AD-1000
Core
switches
Stacking
AD-1000
AD-1000
AD-1000
SANGFOR HCI cluster
Site B
Storage switches
Management switches
Internet
DWDM

## Slide 19: Sangfor Business Continuity Solution’s Differentiations
Simple
Reliable
Affordable
All-in-one architecture
Unified management
No learning curve
Ultimate protection with zero RPO and near-zero RTO
Bottom-up reliability design
DR testing
No 3rd party backup or DR management involved
No external storage involved
Minimum footprint

## Slide 20: A Manufacturer’s Story
Original requirements
Build SAP ERP at the two factory sites
Provide HA and maximum data protection
Provide Business Continuity plan between 3 sites to meet regulations of public listed companies
Sangfor Solution
HCI + aDR (CDP) + vAF + SD-WAN + IAM
Benefits
One-stop solution to offer a complete infrastructure stack
Maximum protection with CDP, file-level recovery for file server
Simplified and flexible disaster recovery solution to meet
regulatory requirement
SD-WAN is leveraged to reduce DR traffic over the links

## Slide 21: Supplemental Videos
https://www.youtube.com/watch?v=NRzfI0x_kxk
Sangfor HCI backup and DR demo video
https://www.youtube.com/watch?v=eREWBhXz_us
Sangfor HCI DR Architecture Whiteboard
https://www.youtube.com/watch?v=qzoRO3BCYyA&t=3s
Sangfor HCI Reliability & DR live demo

## Slide 22
THANK YOU!
Cheney Hu
HCI Senior Product Manager
Sangfor Technologies
cheney@sangfor.com
Make IT Simpler, More Secure and Valuable

## Slide 23: Drilling into Details
VM A
Virtual
disk
Virtual
disk
VM B
Virtual
disk
VM C
Witness node
Stacking
1. Distance <= 50KM
2. Bare fiber ≥ 10Gbps
3. RTT <= 5ms
Bandwidth≥100Mbps
RTT≤5ms
Witness appliance can be deployed on either physical server or VMware.
Bandwidth≥100Mbps
RTT≤5ms
Virtual storage data copy
VM A
HA, DRS
DC A
DC B
DC C
Virtual storage data copy
External storage
Stretched cluster can’t solve logical failures caused by virus and bluescreen, backup is required for those problems.
Solution
A single HCI cluster is divided into two fault domains at each site, data copies are distributed on the 2 fault domains
RPO=0 Support data active-active, the data stored at DC A and DC B is exactly the same, RPO = 0
）Support cross-site HA, if a site fails, VM is pulled up at the other site, RTO = 3-5 mins (HA trigger time + reboot time)
Support business A-A and data A-A for distributed applications, RPO=0, RTO is up to the switchover mechanism of the application, e.g. Oracle RAC RTO ≈ 30s
VM works normally when link between witness site and production site is down
Restrictions:
Minimum cluster size is 4 nodes (2+2)
Witness node is required to be deployed at a 3rd site with link bandwidth ≥100Mbps and RTT ≤5ms
Stretched cluster can’t solve problems caused by virus or bluescreen, backup should be deployed to protect business from these logic failures

## Slide 24: Network Switchover
Data sync link
Internet
DR site
Core/access
Access switch
Main site
Core switch
192.168.1.0/24
172.16.1.254
172.16.2.254
192.168.1.0/24
172.16.1.1
192.168.1.254
vRouter
172.16.2.1
192.168.1.254
DNS
Public IP
Public IP
External users
www.test.com<->Main DC gateway IP/ DR DC gateway IP
Access route before failover
Access route after failover
Internet
Office area
Office network gateway
Access switch
Core switch
Local DNS
Main site
Main site access
DR site
DR site
Data link
Business line
10.2.2.0/24
10.2.2.254
192.168.1.254（vlan）
192.168.1.0/24
192.168.1.0/24
172.16.1.254
172.16.1.1
切换前访问线路
切换后访问线路
Normally user accesses business running on main site through DNS resolution
When main site fails, user should try to restore main site first, DR failover is only initiated after systematic risk assessment.
During the failover, user manually restores the VMs at DR site, and change the DNS resolution to DR site to make business accessible.
AD or public DNS can be used, manual switchover is recommended
Normally user accesses business on main site through route resolution
When main site fails, user should try to restore main site first, DR failover is only initiated after systematic risk assessment.
During the failover, user manually restores the VMs at DR site, and change the routing to DR site to make business accessible.
Sangfor HCI provides only platform-level data sync and failover, for the peripheral network design, we offer suggestions and consultation, final design is up to customer’s existing environment and willingness.

## Slide 25: Automatic DNS Switchover Based on Sangfor AD
10.10.2.11
10.10.2.12
10.10.2.13
VIP: 202.202.1.111
VIP: 202.202.1.112
10.10.2.11
10.10.2.12
10.10.2.13
Doman name provider
DNS configuration sync
Access www.sangfor.com
Client
Domain name: www.sangfor.com
NS1: ns1.sangfor.com
A-record: 202.202.2.110
NS2: ns2.sangfor.com
A-record: 202.202.2.112
AD1(global DNS) IP：202.202.2.110
AD2(global DNS) IP :
202.202.2.112
Domain name: www.sangfor.com
A-record: 202.202.1.112
Domain name: www.sangfor.com
A-record: 202.202.1.111
VM recovery
Normal
Failover
vAD1
vAD2

## Slide 26: Failure Scenarios in Stretched Cluster
Ineternet
Office area
Gateway
Fault domain A
Normally, VMs are working properly between fault domain A and fault domain B at the two sites
When fault domain A suffers failure, HA is triggered to reboot the VMs on B, no manual interruption is required.
Core switches are configured with VRRP to automatically switchover in the event of failure.
Ineternet
Office area
Gateway
Access switch
Core switch
Fault domain B
Normally, VMs are working properly between fault domain A and fault domain B at the two sites
When fault domain A suffers failure, HA is triggered to reboot the VMs on B, no manual interruption is required.
Gateway
Fault domain A
Fault domain B
Witness node
Witness node
VRRP
Stretched cluster
Stretched cluster
Core switch (active)
Core switch (standby)
Access switch
Access switch
Access switch
Access switch
Access switch

## Slide 27: How to License for DR
①SCP
②aSV
③aNET
④aSAN
⑤aSEC
⑦
CDP
⑧
aHM
⑨
aDR
⑩
aSC
Must have
Backup: ②
CDP: ②⑦
HCI DR: ②⑨
Stretched cluster: ②④⑩